# LIST OF ELECTRICAL & ELECTRONICS MANDATORY PRODUCTS

| S# | Name of Items | Relevant PS No. |
| --- | --- | --- |
|  | Tubular Fluorescent Lamps for General Lighting Services (Tube light). | PS-292/2012 |
|  | PVC Insulated Cable (Non Armored) for Electric Power & Lighting. | PS-IEC-60227-Part-1 to 07/2007 |
|  | Induction Motor. | 60034 Part-1 to 04/2007 |
|  | Methods for measuring the performance of Electric Kettles jugs. | PS-253/2010 |
|  | Methods for measuring the performance of Electric Toaster. | PS-661/2015 |
|  | Ballast for fluorescent Lamps. | PS-4972/2012 |
|  | Lead Acid Starter Batteries (for Motor Cars) | PS-206-1/2012 |
|  | Lead Acid Starter Batteries (for Motor Cycles) | PS-4082-1998 |
|  | A.C Watt house meter. | PS-IEC-60521 |
|  | Discharge Lamps/Compact Fluorescent Lamps | PS/IEC 60968/2013 & PS/IEC 60969/2001 |
|  | Household refrigerating appliance characteristics and test methods | PS-IEC: 62552 |
|  | Self-Ballasted LED-lamps for General Lighting Services | PS-5252 |
|  | LED Modules for General Lighting - Performance Requirements | PS-5253 |
|  | LED Modules for General Lighting (Safety Specifications) | PS-5211 |
|  | Electronic Ballast for Florescent Lamps | PS-4640 |
|  | Medical electrical equipment - Dosimeters with ionization chambers as used in radiotherapy | PS: IEC 60731/2011 |
|  | Medical diagnostic X-ray equipment – Radiation conditions for use in the determination of characteristics. (1st Revision) (Replaced PS-4246/1998) | PS: IEC 61267-2009 |
|  | Uninterruptible power systems (UPS) – Part 1: General and safety requirements for UPS. | PS: IEC 62040-1/2014 |
|  | Uninterruptible power systems (UPS) – Part 2: Electromagnetic compatibility (EMC) requirements. Corrigendum 1: Uninterruptible power systems (UPS) – Part 2: Electromagnetic compatibility (EMC) requirements. | PS: IEC 62040-2/2013 |
|  | Uninterruptible power systems (UPS) – Part 3: Method of specifying the performance and test requirements. Corrigendum 1: Uninterruptible power systems (UPS) – Part 3: Method of specifying the performance and test requirements. | PS: IEC 62040-3/2013 |
|  | Uninterruptible power systems (UPS) – Part 4: Environmental aspects – Requirements and reporting. | PS: IEC 62040-4/2014 |
|  | Uninterruptible power systems (UPS) – Part 5-3: DC Output UPS – Performance and Test requirements | PS: IEC 62040-5-3/2017 |
|  | Coaxial communication cables – Part 1-100: Electrical test methods – General requirements. | PS: IEC 61196-1-100/2014 |
|  | Coaxial communication cables – Part 1-101: Electrical test methods – Test for conductor d.c. resistance of cable. | PS: IEC 61196-1-101/2014 |
|  | Coaxial communication cables – Part 1-102: Electrical test methods – Test for insulation resistance of cable dielectric. | PS: IEC 61196-1-102/2014 |
|  | Minimum Energy Performance Standard (MEPS) and Energy Star Rating for Television Receivers. | PS:5422/2018 |
|  | Sound system equipment – Part 5: Loudspeakers. | PS: IEC 60268-5/2014 |
|  | Sound system equipment – Part 7: Headphones and earphones. | PS: IEC 60268-7/2015 |
|  | Secondary cells and Batteries containing Alkaline or other Non-Acid electrolytes secondary Lithium cells and Batteries for portable Application. | PS:IEC:61960-3 |
|  | Clothes washing machine for household use | PS: IEC:60456 |
|  | Multiple split- system Air-conditioners and Air to Air heat pumps. | PS:IEC:5327 |
|  | Non-Ducked Air Conditioners and Heat pump | PS:5151 |
|  | Electric irons for household or similar use | PS:185 |
|  | Switches for household and similar fixed electrical installations Part-1 General Requirements | PS-IEC-60669-1 |
|  | Switches for household and similar fixed electrical installations Part-2:1 Particular Requirements - Electronics Switches | PS-IEC-60669-2-1 |
|  | Plug & Socket outlets household and similar purposes – Part-1 – General Requirements | PS: IEC:60884-1 |
|  | Plugs and socket-outlets for household and similar purposes - Part 2-1: Particular requirements for fused plugs | PS: IEC:60884-2-1 |
|  | Plugs and socket-outlets for household and similar purposes - Part 2-2: Particular requirements for socket-outlets for appliances | PS: IEC:60884-2-2 |
|  | Plugs and socket-outlets for household and similar purposes - Part 2-3: Particular requirements for switched socket-outlets without interlock for fixed installation | PS: IEC:60884-2-3 |
|  | Plugs and socket-outlets for household and similar purposes - Part 2-4: Particular requirements for plugs and socket-outlets for SELV | PS: IEC:60884-2-4 |
|  | Plugs and socket-outlets for household and similar purposes - Part 2-5: Particular requirements for adaptors | PS: IEC:60884-2-5 |
|  | Plugs and socket-outlets for household and similar purposes - Part 2-6: Particular requirements for switched socket-outlets with interlock for fixed electrical installations | PS: IEC:60884-2-6 |
|  | Plugs and socket-outlets for household and similar purposes - Part2-7: Particular requirements for cord extension sets | PS: IEC:60884-2-7 |
|  | Plugs and socket outlets | PS:IEC 60906-1 |
|  | Household micro wave ovens | PS:5254 |