TENDER NO: PSQCA/ H.O. Electric Work/ATS/Tender 02/2020-21

ATS Technical Specification

| S.No | Description of Item | Unit | Quantity | Rate | Amount ( in Rs.) | Tax | Total Amount | Remakes |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01 | Provide and installation of ATS Panel, Motorized change over switches I-O-II, (230VAC) 4-pole 630 Amps (SOCOMEC latest model) with Bus bars, indication light, and volt meter, control wire Generator to ATS panel Complete ATS Panel, complete the job and testing commissioning. Comparable with Diesel Generator 300 KVA Cummins. | Job | 01 |  |  |  |  |  |
| Total Amount in Rupees (Words)________________________________________________________________ _______________________________________________________________________ | Rs. |  |